Table 2

Table 2. Result of the comparison of different probes for core plug analysis

|  |  |  |  |
| --- | --- | --- | --- |
| **Probe** | **Diameter (cm)** | **Pulse length (µs)** | **Echo signal (a.u.)** |
| sc | 3 | 14 | 175 |
| sol15 | 4.2 | 8 | 1553 |
| sol25 | 7 | 16 | 940 |
| sol35 | 9.5 | 20 | 495 |